|  | CONTACT | Hg | RGM | COMMENT |
| --- | --- | --- | --- | --- |
| Alabama | Ronnie Watkins RRW@adem.state.al.us |  | yes | TEKRAN 2537A operated for several years; not currently operating. Data was submitted to EPA |
| Florida | Thomas.Atkeson@dep.state.fl.us |  | yes | MDN since 1995, 3 sites in So. Fla. TEKRAN speciation system (2537A/ 1130/1135) for Everglades study (2 sites) 2000 thru 2006. “Simple manual sampling with KCL annular denuders at less capital cost, equivalent data if automation is not req’d.” Presently planning 3 sites to support statewide TMDL Programs. |
| Georgia | Susan Zimmer-Dauphinee Zimmer-Dauphinee@dnr.state.ga.us | yes |  |  |
| Idaho | Bruce Louks | yes | yes | Contracted with Mike Abbott of Idaho National Labs; discontinued due to funding |
| Illinois | Melvin.schuchardt@illinois.gov | yes |  | TEKRAN 2537 still operating in Chicago area, at a toxic NATTS/PAMS site |
| Kentucky | Sean.Alteri@ky.gov | yes |  | 5 TEKRAN 2537A monitors operated |
| Louisiana | Philip.Frazier@LA.GOV |  | yes |  |
| Maryland | Mark Castro castro@al.umces.edu | yes | yes |  |
| Michigan | Amy Robinson robinsoa@michigan.gov | yes |  |  |
| Nevada | Mae Gustin mgustin@unr.edu |  |  |  |
| New Jersey | charles.petarinen@dep.state.nj.us |  | yes |  |
| New York | Dirk Felton hdfelton@gw.dec.state.ny.us |  | yes |  |
| Pennsylvania | Nick Lazor nlazor@state.pa.us |  | yes | 5 TEKRAN 2537A; 1 TEKRAN 1130; 1 TEKRAN 1135 at 2 sites. Operated and maintained by PA DEP |
| S. Carolina | Kevin Watts wattskg@dhec.sc.gov | yes |  |  |
| Tennessee | Robert.brawner@state.tn.us |  |  |  |
| Wisconsin | mark.allen@wisconsin.gov bruce.rodger@wisconsin.gov | yes |  |  |